**BICUBIC SPLINE ESTIMATOR FOR PROBABILITY DENSITY FUNCTIONS of RAW WATER PROPERTIES**

**M. Milivojevic1, S. Obradovic1, V. Stevanetic2, D. Drndarevic1**

1Technical and Business College, Uzice, Serbia, [milovan.milivojevic@vpts.edu.rs](mailto:milovan.milivojevic@vpts.edu.rs), [srdjan.obradovic66@gmail.com](mailto:srdjan.obradovic66@gmail.com), dragoljub.drndarevic@gmail.com

2Institute for Public Health, Uzice,Uzice, Serbia,vlasto.stevanetic@hotmail.rs

***Abstract:*** *Drinking water represents a limited natural resource on the planet Earth, and will, in the time to come, be the focus of scientific research related to sustainable development strategy (SDS).SDSconcerning with raw and drinking water as support implies the application of wide array of statistical and mathematical techniques, econometric tools and artificial intelligence heuristics. In this paper, a contribution to one such strategy based on 3D probability density functions (PDF) has been presented.Modeling probability density function was carried out by Bicubic Spline software Estimator-a developed by the authors in Visual Studio 12, the C# programming environment. PDFs have been modeled for raw water properties(physical-chemical, microbiological, and other parameters) for the Case Study in the district of Zlatibor the Republic of Serbia which hasthe number over 320.000,000 inhabitants.The obtained PDFs of raw water quality, could be essential for the management and planning of the drinking water supply in the future.*

***Keywords:*** *Quality of Raw Water, Probability Density Function, Bicubic Spline Estimator*

**1. INTRODUCTION**

Providing safe drinking water is a major concern worldwide.Republic of Serbia, according to the SWQI (Serbian Water Quality Index) [1], could be considered a country very rich in water resources [2].However, international rivers, such as the Danube, Tamiš, Sava…, which constitute 90% of Serbia’s water territory, cannot be treated as Serbia’s watery wealth, and cannot be used reliably.These lowland rivers, carry with them silt and pollutants, and considering theypass through many countries, they containindustrial and household wastewater. Thus, only 10% of Serbian water resources are domestic, which makes the country water-poor.Therefore, Serbia needs to pay attention tothe rational use of existing resources, harmonization of raw and drinking water treatment and distribution systems,and economize in the use of reagents for water purification [3]. Based on the above, strategy of sustainable development (SSD) in the Republic of Serbiaimplies, among other things, quality management and planningof raw and drinking water resources, andapplication of a wide array of statistical methods, mathematical techniques, econometric tools and artificial intelligence heuristics (AI).

Although AI techniques are increasingly being applied in modeling quality, processes and properties related to raw and drinking water, the traditional statistical approach is still relevant. The advantages of the statistical models are the simplicity of formulation, the speed of execution and the availability of any type of correlation between independent and responses variables [4].The application of statistical methods often involves water quality stochastic variables based on interpolation by cubic or bicubic splines modeling.

In [5], Jones et al.investigate the ingestion of nitrate and nitrite from drinking water and diet and bladder cancer risk in women among a cohort of 34,708 postmenopausal women in Iowa (1986-2010). The authors used Cox regression to estimate hazard ratios (HR). In drinking water analyses, they compared average nitrate exposure quartiles to the lowest exposure category (Q1). They divided years >½-MCL at the median (4 years) and compared to those with no years of exposure at this level. They evaluated the linearity of these relationships by modeling the exposures as continuous variables and by including cubic splines and quadratic exposure terms. Nolz et al. in [6], use a natural cubic spline to smoothing data in determining soil water balance components using an irrigated grass lysimeter in NE Austria. Authors in [7] characterize bivariate short-term temporal relationships among weather, turbidity, and diarrhea ED visits. They first removed the influence of shared trends, seasonal cycles, and day of week patterns from the short-term relationships among the variables by de-trending each time series in a generalized linear model using natural cubic splines with six degrees of freedom per season and a day-of-week indicator variable. In [8] K. Fujinawastudies the future impacts of global climate change, sea-level rise, and adaptation of irrigation practices on groundwater flow, the salinity of groundwater, and salt accumulation on the land surface. He used de Boor’s bi-cubic spline function, to simulate a convective-dispersive transfer of heat in porous media.In [9] Holmes examined the relationship between soil erosion and water treatment.He estimated the relationship between water turbidity levels and typical treatment costs using a cubic spline regression.He used these results to estimate background national turbidity-related water production expenses.Tina M.et al. in [10]use bicubic splines for modeling the Dead Sea depression.The application of statistical methods also involves modeling of probability density functions (PDFs) for stochastic variables related to water quality [11, 12, 13].

Based on the above, the goal of research presented in this paper was the development of a bicubic spline software estimator(**bcSSe**) intended for estimation of 2D probability density functions (PDFs) of raw water quality parameters. Performance of *bcSSe*software module is validated in the Case Study and data collected in the district of Zlatibor in the southwest part of Republic of Serbia.

**2. THEORETICAL BACKGROUND**

The following two sections describe basic theoretical elements (probability density functions and bicubic interpolation) based on which *bcSSe* software module was developed. In addition to the theoretical background, the properties of raw water, which are the focus of this paper, are briefly described.

**2.1. Density function**

A [random variable](https://en.wikipedia.org/wiki/Random_variable) has a probability density function (PDF), where is a non-negative [Lebesgue-integrable](https://en.wikipedia.org/wiki/Lebesgue_integration) function, if (eq. 1) [14]:

 (1)

For continuous [random variables](https://en.wikipedia.org/wiki/Random_variable) , a probability density function is function of the  variables, such that, for any domain in the -dimensional space of the values of the variables , the probability that a realization of the set variables falls inside the domain is (eq. 2):

 (2)

**2.2. Bicubic interpolation**

Bicubic interpolation (Fig.1) is an extension of cubic interpolation for interpolating data points on a two regulardimensional grid [15]. Bicubic interpolation can be accomplished using either Lagrange polynomials, cubic splines, or cubic convolution algorithm [16].

|  |  |
| --- | --- |
| Fig. 1. Bicubic interpolation | For a function  and its derivatives  ,  and , known at the four corners of the unit square , ,  and , the interpolated surface can then be written as (eq. 3):  (3)  The interpolation problem consists of determining the 16 coefficients. Matching  with the function values yields four equations, eight equations for the derivatives in the -direction and the -direction |
| ( ), ), and four equations for the cross derivative (): | |

|  |  |
| --- | --- |
|  |  |

This procedure yields a surface  on the unit square [0,1] x [0,1] which is continuous and with continuous derivatives. Bicubic interpolation on an arbitrarily sized regular grid can then be accomplished by patching together such bicubic surfaces, ensuring that the derivatives match on the boundaries.

Grouping the unknown parameters  in a vector (eq. 4),

 (4)

and letting (eq. 5)

 (5)

the above system of equations can be reformulated into a matrix for the linear equation .

Inverting the matrix gives the more useful linear equation  , which allows  to be calculated, where (eq. 6):

|  |  |
| --- | --- |
|  | If the derivatives are unknown, they are typically approximated from the function values at points neighboring the corners of the unit square, e.g. using finite differences. At the edges of the dataset, when one is missing some of the surrounding points, the missing points can be approximated by a number of methods.  (6) |


**2.3. Climate conditions and quality of raw drinking water**

Raw water quality is generally examined using quantitative and qualitative analysis, which typically includes physical, chemical, microbiological and sometimes radiological examination. A detailed description of the characteristics of surface water intended for the abstraction of drinking are given in [17].From a large number of raw water quality indicators, the research in this paper was focused on *oxidizability,turbidity* and *electrical conductivity*.

Turbidity [expressed in Nephelometric Turbidity Unit, NTU] refers to the decreased ability of water to transmit light caused by suspended particulate matter ranging in size from colloidal to coarse dispersions [18]. The suspended matter causing turbidity is expected to be clay, silt, nonliving organic particulates, plankton, and other microscopic organisms, in addition to suspended organic or inorganic matter. The interest of measuring turbidity is not merely due to the fact that small particles in water are objectionable; it is also the consequence of considering that these particles tend to protect pathogens from the disinfection treatment of raw and drinking water (e.g. chlorination is less effective in turbid water). High readings of turbidity can also be used as an interpretation of failures in treatment plant operation [18]. The World Health Organization (WHO) estimated that the turbidity of drinking water should not exceed the value of 5 (NTU), and ideally be below 1 NTU [19].Potassium permanganate (KMnO4) [expressed in mg/l] is a strong oxidation agent. Its consumption during the process of raw water treatment, is a measure of the amount of organic substances that pollute water. KMnO4 can oxidize inorganic matter present in the water - sulfides (S2-) to sulfur, ferrous ions (Fe2+) to ferric ions (Fe3+), nitrite (NO2–) to nitrate (NO3–), so that the relationship between consumption of KMnO4 and organic matter inherent structure is considered conditional. KMnO4 concentration is also expressed with the term “oxidizability”. Maximum allowed concentration of potassium permanganate is 8 mg / l [20].The ability of water to conduct an electric current is known as electrical conductivity or specific conductance (expressed in or) and depends on the concentration of ions in solution [18].The dissolved solids are basically related to this measure, that is also influenced by the good conductivity of inorganic acids, bases, and the poor conductivity characteristic of organic compounds.

**3. SOFTWARE bcSSe module**

The employed*bcSSe*[[1]](#footnote-2)software, which has been developed for PDFs raw water quality modeling, was developed by the authors in the MicrosoftNET software environment (C# 6.0).The schematic view of *bcSSe*module’s structure (6c, Fig. 2) and its potential roles in the system of monitoring the quality of raw water in the Institute for Public Health, Uzice (PHU), are presented on Fig. 2. The presented scheme can be generalized: raw water intakes from the Zlatibor region would be replaced by the specific locations from the other parts of the Republic of Serbia. The appropriate Institute would take the function of the PHU for (Institute of Public Health of Serbia Dr Milan JovanovicBatut et al.).



**Figure 2**:Schematic view of bcSSe module’s structure

From the appropriate water intakes (1), according to the prescribed standards, methods, and sampling dynamics, raw water samples are collected and analyzed in public health institutions (2). By means of measuring equipment, the measured values ​​of chemical, physicochemical, physical, biological and other properties of raw water are stored in the database (3). MySQL DBMS was used to manage data. The *bcSSe* software module consists of several units. *Queries unit* (4a) based on pre-defined queries or queries requested by the user will return the appropriate records. For data pre-processing, the *Missing values ​​detection unit* (4b) and *Outliers detection unit* (4b) are employed. Component (4d, *Bicubic spline interpolation unit*) for selected stochastic input variables and data points on a two-dimensional grid realizes bicubic interpolation in accordance with the theoretical framework described in Section 2.2. Graphical representations and estimation of 2D PDFs are entrusted to the *PDFs unit module* (4e), and the estimation of the probability of the existence of raw water, characteristics specified in an interval, *Probability by Query Unit* (4f).

**4.CASE STUDY**

The following section presents the validation of the developed *bcSSe* software module.

**4.1. Location description**

|  |  |
| --- | --- |
| The historicaldata set was collected in the region of Zlatibor in the western part of Republic of Serbia, which together have over 320.000inhabitants (Fig. 3).Samples were collected from 8 water intakes (Fig. 3): Uzice (Source: Sušičkavrela, Susica river), Zlatibor (Reservoir on Ribnica River, Ribnica lake), Arilje (Rzav river), Kosjeric(Sources: Taorskavrela, Despotovica), BajinaBašta (Source: by the river Drina), Priboj (Reservoir on the river Uvac - Radoinjskolake), Prijepolje (Source: Seljašnica) and Sjenica (Source: Vrelo). The waters of the Zlatibor district, which are the subject of research in this paper, can be divided into two groups: *surface waters* (Arilje, Priboj, Zlatibor) and *spring (underground) waters* (Uzice, BajinaBašta, Kosjeric, Prijepolje, Sjenica). Rivers Rzav, Uvac (middle watercourses) and Ribnica (small watercourse) are above 500 AMSL, have good ecological status and do not contain polluting substances. All the mentioned water sources have good chemical properties, i.e. they do not contain contaminating substances that would significantly impair the use for human use. | C:\Users\Milivojevic\Desktop\SED17\2017\Slike\Mapa - sirove vode histogram krop.png |
| **Figure 3**:Locations of raw water intakes in the Zlatibor district, in the south-west part of Republic of Serbia. |

**4.2. Dataset. Variables, acquisition and equipment**

The historical data set ((3), Fig.2) was collected at the 8 locations in Zlatibor region, for the period of 01.01.2015. to 31.12.2016 (*dd.mm.yy*date formatting was applied). The database contained 814 records with values of attributes that define primary quality of raw water.

The *bcSSe* module ((4), Fig. 2) has an input vector which contains 6 variables from which the quality of the primary characteristics of the raw water can be evaluated. The primary characteristics of raw water are indicated with the following variables: , *Turbidity*, , , , and , which represent: temperature, turbidity, pH value, electrical conductivity (200C), oxidizability - potassium permanganate consumption (KMnO4) and chlorides (Cl-), respectively. The historical data set was collected in *The Laboratory for quality control of water*, in the *Institute for Public Health, Uzice, Serbia* (Fig.4).

|  |  |  |
| --- | --- | --- |
| C:\Users\Milivojevic\Desktop\SED17\2017\Slike\malaIMG_20170811_154444.jpg | C:\Users\Milivojevic\Desktop\SED17\2017\390426-uzice05-zavod-za-javno-zdravlje-foto-mcvetkovic.jpg | C:\Users\Milivojevic\Desktop\SED17\2017\Slike\malaIMG_20170811_154223.jpg |
| **Figure 4**: Institute for Public Health, Uzice, Serbia | | |

Measuring of raw water properties was achieved by using the following laboratory equipment: the *pH* value were measured using the *Hach USA*pH Meter, type:*Sension 3*, range: 0-14/method: Р-IV- 6/А, СЗЗЗЗ, 1990;*turbidity* was measured using the*HACH 2100N-IS*Turbidimeter,range: 0-1000 FNU/method: EN ISO 7027;*electrical conductivity* were measured on the ((Hach USAConductometer, type: Sension 7, ranges: 0-19.99μS/cm, 20-199.9μS/cm, 200-1999 μS/cm))/method: EN27888:1993. Determination of KMnO4 consumption(*oxidizability*): glass burette, 50 mL, lab hotplate, /method: Р-IV-9а, СЗЗЗЗ, 1990. The remaining parameters were measured and determined by applying the appropriate analytical methods. Table 1 lists the elements of descriptive statistic for the input data for all water intakes, separately.

Table 1. Historical dataset of raw water quality - descriptive statistics

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Locat. |  | Chl. | Oxid. | Ec | pH | Turb. | T | Locat. | Chl. | Oxid. | Ec | pH | Turb. | T |
|  |  |  | [mg/l] | [µS/cm] |  | [NTU] | [0C] |  |  | [mg/l] | [S/cm] |  | [NTU] | [0C] |
| Zlatibor | *Min* | 4 | 14.8 | 123 | 7 | 0.6 | 2.5 | Uzice | 5 | 3.8 | 309 | 6.7 | 0.5 | 7.5 |
| *Samples* | *Max* | 12 | 31.1 | 217 | 8.2 | 3.7 | 20.5 | *Samples* | 22 | 24.2 | 555 | 7.5 | 25.2 | 14.8 |
| **61** | *Aver.* | 7.361 | 23.26 | 169.16 | 7.649 | 1.62 | 10.26 | **137** | 13.255 | 9.57 | 440.36 | 7.169 | 2.77 | 11.47 |
|  | *StD* | 1.906 | 3.85 | 24.17 | 0.266 | 0.72 | 5.52 |  | 2.547 | 4.25 | 44.63 | 0.130 | 3.71 | 1.98 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Prijepolje | *Min* | 5 | 1.6 | 300 | 7.1 | 0.2 | 7 | Priboj | 5 | 2.8 | 248 | 7.2 | 0.3 | 6 |
| *Samples* | *Max* | 15 | 6.6 | 403 | 7.9 | 4.8 | 12 | *Samples* | 11 | 20.8 | 380 | 7.9 | 9.5 | 16 |
| **72** | *Aver.* | 6.833 | 3.36 | 354.06 | 7.590 | 0.93 | 10.00 | **69** | 7.406 | 5.92 | 296.00 | 7.575 | 0.85 | 11.00 |
|  | *StD* | 1.547 | 1.14 | 24.44 | 0.157 | 0.82 | 1.03 |  | 1.565 | 2.18 | 30.94 | 0.131 | 1.12 | 2.43 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B\_Basta | *Min* | 5 | 1.5 | 239 | 6.7 | 0.1 | 7 | Sjenica | 4 | 1.6 | 237 | 7.2 | 0.2 | 4 |
| *samp.* | *Max* | 13 | 5.4 | 326 | 7.4 | 0.9 | 14 | *Samples* | 12 | 5.7 | 375 | 7.8 | 1 | 14 |
| **59** | *Aver.* | 9.475 | 2.92 | 276.42 | 7.025 | 0.38 | 10.51 | **70** | 7.143 | 2.81 | 328.73 | 7.466 | 0.49 | 10.61 |
|  | *StDev* | 1.633 | 0.83 | 18.78 | 0.142 | 0.16 | 1.65 |  | 1.627 | 0.83 | 23.78 | 0.144 | 0.17 | 1.56 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kosjeric | *Min* | 6 | 1.9 | 401 | 6.9 | 0.3 | 6 | Arilje | 4 | 2.2 | 239 | 7.1 | 0.2 | 1 |
| *Samples* | *Max* | 14.3 | 6.6 | 522 | 7.5 | 9 | 16 | *Samples* | 12 | 33 | 355 | 8.2 | 90.4 | 21 |
| **47** | *Aver.* | 9.581 | 3.16 | 452.79 | 7.211 | 0.95 | 11.02 | **297** | 6.044 | 6.38 | 296.77 | 7.923 | 3.93 | 9.94 |
|  | *StD* | 1.758 | 0.99 | 32.19 | 0.149 | 1.36 | 2.35 |  | 1.178 | 3.26 | 27.85 | 0.149 | 9.79 | 5.65 |

**4.3. Methods**

For each location, bicubic spline interpolation modeling is carried out for the following pairs: Turbidity/Oxidizability, Turbidity/Electrical conductivity and Electrical conductivity/Oxidizability. The remaining variables were not modeled by PDFs, because their values were significantly lower than the permissible ones. A total of 24 PDFs were modeled (3 models x 8 locations).

**4.4. Results and discussion**

In the course of the case study all modeling, experiments and simulations were performed on an Microsoft Windows 10 based PC with the following features: Intel i5-4670 CPU, Intel Z87 chipset, 8GB of DDR3. The proposed bicubic spline estimation, by its nature, does not provide the generation of PDFs in analytical form, so two-dimensional models of PDFs for features of raw drinking water in the Zlatibor region, are shown graphically in Fig. 5a to Fig. 7b.

|  |  |
| --- | --- |
|  |  |
| **Figure 5a**: PDFs(turbidity, oxidizability) 2015/16 of raw water in Zlatibor region for 2015/16 | **Figure 5b**: PDFs(turbidity,oxidizability) 2015/16 of raw water in Zlatibor region for 2015/16 |
|  |  |
|  |  |
| **Figure 6a**: PDFs(conductivity,turbidity) of raw water in Zlatibor region for 2015/16 | **Figure 6b**: PDFs(conductivity,turbidity) 2015/16 of raw water in Zlatibor region for 2015/16 |

With Fig. 5a and Fig. 5b, showing the density of distribution of probability of turbidity and oxidizability, it can be seen that the raw waters of the Zlatibor region can be classified into four groups / categories: I) RibnicaZlatibor (low level of turbidity and high oxidizability), II) Uzice (a wide range of oxidizability), III) Arilje (lower level of oxidizability and turbidity in a wide range) and IV) BajinaBašta, Kosjerić, Priboj, Prijepolje and Sjenica with the lowest values of turbidity and oxidizability.

High oxidizability value in the first category, Ribnica - Zlatibor is a consequence of specific biogeochemical processes in the drainage area of the Ribnica river / Zlatibor mountain, which lead to the increased values of humic matter in the water.Changes in water turbidity ofRibnicaare depreciated by the accumulation lake and depend on the erosive characteristics of the drainage area of the Ribnica River. The wide range of oxidizabilityvalues in the second group is due to the high dependence of the Sušica springs from precipitation, i.e. a large share of atmospheric water in rainy periods or periods of melting snow.The third category is the river Rzav, the water intake is on the river itself, whose drainage basinlies in a mountainous area (Čemernica, Mučanj, Zlatibor), the amount of water and features are very dependent on precipitation, which by the erosion of different terrains causes changes in turbidity and oxidizability.The fourth category, with the exception of Priboj, are groundwaters (springs), therefore protected from acute impacts of precipitation. Pribojgets water from Radoinjsko Lake on the river Uvac, where there are three accumulating lakes on the river, and Radoinjsko is the last one.Practically, the river Uvac almost has no free flow, large water masses amortize changes in turbidity and oxidizabilityand stabilize their values. The lakes are located at altitudes from 800 to 1000 meters.

Fig. 6a and Fig. 6b, PDFs for turbidity and electrical conductivity are displayed. Four groups of water categories can be spotted again: I) RibnicaZlatibor (low level of turbidity and electrical conductivity), II) Uzice and Kosjeric (wide range of turbidity and increased value of conductivity), III) Arilje (lower level of electrical conductivity and turbidity in a wide range ) And IV) BajinaBašta, Priboj, Prijepolje and Sjenica with the lowest values of turbidity and electrical conductivity in the lower range.

In the level of electroconductivity- oxidizability, each of the sites has a significant separation, except for the raw drinking water of Sjenica, Prijepolje and Priboj, which are characterized by the lower to medium level of electrical conductivity and very small oxidizability.

|  |  |
| --- | --- |
|  |  |
| **Figure 7a**: PDFs (oxidizability, electroconductivity)  of raw water in Zlatibor region for 2015/16 | **Figure 7b**: PDFs (oxidizability, electroconductivity)  of raw water in Zlatibor region for 2015/162015/16 |

In addition to the obtained PDFs for the raw drinking water of the Zlatibor district, for creating PDFs in the domain of quality management and planning of raw and drinking water resources in the Republic of Serbia (SDS), it is also important to assess the probability that the water properties of a water intake will be in a given 2D range.

|  |  |
| --- | --- |
|  |  |
| **Figure 8**: Estimated probability for turbidity-oxidizability to be in a given range for the Ribnica-Zlatibor water intake. | **Figure 9**:Estimated probability for conductivity-oxidizability to be in a given range for the Uzice-Susica water intake. |

An example is the estimate of the probability that the raw water on the Ribnica-Zlatibor water intake will have the following characteristics: Oxidizability: [20-25 mg / l], Turbidity: [5-15 NTU]. The estimated probability of such an event is 11.23% and is calculated as a quotient of the volume below the PDF and the level of tubidity- oxidizability constrained by the given domain (Figure 8, detail "A") and the volume below the PDF surfaces for the entire research domain.

Similarly, the probability of raw water at the water intake Uzice (Susica) having the following values of properties: Ec: [400-525 μS/cm], Oxid: [7-10] is 28.01% (Fig. 9, volume of PDF undercoloredsurface), while the probability of raw water from the Arilje (Rzav) water intake having the values of properties: Ec[230-275 μS/cm], Turbidity: [5-15 NTU] is 7.29% (Fig. 10, detail ”A” and Fig. 11)

|  |  |
| --- | --- |
|  |  |
|  |  |
| **Figure 11:**Event probability as the quotient of volumeunder PDF and volume under Ec-turbidity surface constrained by the given domain: detail ”A”  -enlarged- |
| **Figure10**:Estimated probability for turbidity-conductivity to be in a given range for the Arilje-Rzav water intake. |

**5. CONCLUSION**

Providing safe drinking water is a major concern worldwide. SSD in the Republic of Serbia in accordance with these trends implies quality management and planning of raw and drinking water resources and application of a wide array of statistical, mathematical, econometric tools and also artificial intelligence heuristics (AI), in this field. Although the application of AI techniques is on the rise, the traditional statistical approach, is still relevant. The application of statistical methods often involves water quality stochastic variables based on interpolation by cubic or bicubic splines modeling and modeling of its probability density functions (PDFs).

This paper presents a bicubic spline software estimator (*bcSSe*), developed by authors, intended for estimation of 2D probability density functions (PDFs) of raw water quality parameters. Performance of *bcSSe* software module is validated in the Case Study and data collected from eight raw water intakes in the Zlatibor region in the southwest part of Republic of Serbia. More than twenty PDFs 2D models were created for*turbidity*-*electroconductivity*, *turbidity*-*oxidizability* or *electroconductivity*-*oxidizability* planes. The performance of *bcSSe*wasadditionally tested by estimating the probability for a chosen pair of raw water properties to be in a given range. Examples are given for the water intakes Uzice, Arilje andRibnica-Zlatibor, which represent water sources for most of the population of the Zlatibor district and surrounding regions. The obtained PDFs of raw water features quality, could be essential for the management and planning of the drinking water supply in the future.

**Acknowledgement**

The authors would like to thank the management, technologists, chemists, the engineers and technicians in the *Institute for Public Health, Uzice, Serbia* for their help and expert knowledge support in the monitoring technology and assessment of quality of raw drinking water in Zlatibor region. Also, the authors would like to thank them for collecting the data relevant for this study.

**REFERENCES**

|  |  |
| --- | --- |
| [1] | "Sl. glasnik RS", br. 37/2011, [Online]. Available: http://www.sepa.gov.rs/download/NLI\_web.pdf. [Accessed 9. 8. 2017]. |
| [2] | "http://www.sepa.gov.rs/app/sqi/sqi.php?mesec=12&godina=2014," Republic of Serbia, Ministry of Agriculture and Environmental Protection, Environmental Protection Agency, 2014. [Online]. Available: http://www.sepa.gov.rs/app/sqi/sqi.php?mesec=12&godina=2014. [Accessed 9. 8. 2017]. |
| [3] | Agencijazazastituzivotnesredine, MinistarstvopoljoprivredeizastitezivotnesredineRepublikaSrbija , [Online]. Available: <http://www.sepa.gov.rs/index.php?menu=201&id=205&akcija=showXlinked>. |
| [4] | STOJANOVIC, B; MILIVOJEVIC, M.; IVANOVIC, M.; MILIVOJEVIC, N.; DIVAC, D: *Adaptive system for dam behavior modeling based on linear regression and genetic algorithms*, Advances in Engineering Software, 65, 182-190, 2013. |
| [5] | JONES, R. R.; WEYER, P. J.; DELLAVALLE, C. T.; INOUE-CHOI, M.; ANDERSON, K. E.; KENNETH P. C.; KRASNER, S.; ROBIEN, K.; BEANE FREEMAN, L.; SILVERMAN, D.; WARD, M.: *Nitrate from Drinking Water and Diet and Bladder Cancer among Postmenopausal Women in Iowa*, Environmental health perspectives, 124.11, 1751, 2016). |
| [6] | NOLZ, R.; CEPUDER, P.; KAMMERER, G.: *Determining soil waterbalance components using an irrigated grass lysimeter in NE Austria*, J. Plant Nutr. Soil Sci., 177, 237–244, 2014. |
| [7] | HSIEH, J.L.; NGUYEN, T.Q.; MATTE, T; ITO K.: *Drinking Water Turbidity and Emergency Department Visits for Gastrointestinal Illness in New York City*, *2002-2009*, PLoS ONE 10(4): e0125071., 2015. |
| [8] | FUJINAWA, K.: *Impacts of Climate Change on Subsurface Water Environment*, The 17th Joint GCC/Japan Environment Symposium, Water resources in the GCC and environmental challenges, 2th-4th February 2009. |
| [9] | HOLMES, T.P.: T*he Offsite Impact of Soil Erosion on the Land Economics on the Water Treatment Industry*, Land Economics, 64:356-66, 1988. |
| [10] | NIEMI, T. M.; BEN-AVRAHAM, Z.; GAT, J.:*The Dead Sea: The Lake and Its Setting*, Oxford University Press, November 20, 1997. |
| [11] | CHENG, W. P.; YAFEI, J.: *Identification of contaminant point source in surface waters based on backward location probability density function method*, *Advances in Water Resources* 33.4, 397-410, 2010. |
| [12] | SOW, M. et al: *Water quality assessment by means of HFNIvalvometry and high-frequency data modeling,* Environmental monitoring and assessment 182.1, 155-170, 2011. |
| [13] | SADIQ, R.; TESFAMARIA, S.: *Probability density functions based weights for ordered weighted averaging (OWA) operators: An example of water quality indices*, European Journal of Operational Research, 182.3, 1350-1368, 2007. |
| [14] | https://en.wikipedia.org/wiki/Probability\_density\_function |
| [15] | <https://en.wikipedia.org/wiki/Bicubic_interpolation> |
| [16] | KEYS, R.: *Cubic convolution interpolation for digital image processing*, IEEE Transactions on Acoustics, Speech, and Signal Processing, 29 (6), 1153–1160, 1981. |
| [17] | European environment agency, "Council Directive 75/440/EEC of 16 June 1979 concerning the quality required of surface water intended for the abstraction of drinking water in the Member States," [Online]. Available: http://www.rdvode.gov.rs/doc/dokumenta/direktive-eu/(3.%20Direktiva%2075-440-EEC%20o%20kvalitetu%20povr\_232inske%20vode).pdf. [Accessed 9. 8. 2017]. |
| [18] | DE ZUANE, J.: *Handbook of drinking water quality*, John Wiley & Sons, 1997. |
| [19] | "Water Quality teStS," [Online]. Available: https://www.safewater.org/PDFS/communitywatertestkit/Water\_Quality\_Tests.pdf. [Accessed 9. 8. 2017]. |
| [20] | Beogradskivodovod, "Pravilnik o higijenskojispravnostivode," [Online]. Available: http://www.bvk.rs/pdf/pravilnik\_o\_higijenskoj\_ispravnosti\_vode.pdf. [Accessed 9. 8. 2017]. |

1. **b**i**c**ubic**S**pline **S**oftware**e**stimator (**bcSSe**)- software for bicubic spline interplation - authors: PhDMilovan Milivojevic, proffesor; Srdjan Obradovic,software engineer specialist, The Department for Informatics, Technical and Business College, Uzice, 2017. [↑](#footnote-ref-2)